## Slide 1
Sensor Network Systems (DTEK2011_2016)
Test-bed project by Habibul and Dinesh
WSN APPLICATION FOR MONITORING PATIENTS
BODY TEMPERATURE IN HOSPITALS

## Slide 2: OVERVIEW OF THE PROJECT
MAIN FUNCTIONS:
Monitor the patient’s body temperature
Display it to the doctor through webserver
Use of wireless communication system for remote patient monitoring
Transmitting module continuously reads patient’s body temperature through a digital temperature sensor
Constantly observe the temperature and maintain a record of it

## Slide 3: WIRELESS SENSOR NETWORK

## Slide 4: PROJECT REQUIREMENTS
HARDWARE REQUIREMENTS
2 Zolertia Z1 motes
Tmp102 (Temparature sensor)
Micro USB cable
Computers
Power supply
Display
SOFTWARE REQUIREMENTS
OS- Contiki 2.7
Programming language- C and Python
Compiler (gcc-msp430)
Plotly API

## Slide 5: Zolertia Z1

## Slide 6: BUILDING THE COMMUNICATION

## Slide 7: COMMUNICATION PROTOCOLS
RPL
RPL is the IPv6 routing protocol for Low-power and Lossy Networks (LLNs)
Networking protocol for IoT
Multipoint-to-point traffic from devices towards a central control point
Point-to-multipoint traffic from the central control point
Support for point-to-point traffic is also available

## Slide 8: COMMUNICATION PROTOCOLS
UDP
Prior communications are not required to set up transmission channels or data paths
UDP uses a simple connectionless transmission mode
UDP is suitable for purposes where error checking and correction is either not necessary
UDP is message oriented
UDP because dropping packets is preferable to waiting for delayed packets
Light weight but may be not that reliable

## Slide 9: Project Implementation
dev/tmp102.h
(sensor driver)
RPL (6LoWPAN)
Sender
User Datagram Protocol (UDP)
Port 1986
RPL Unicast
RPL
Receiver
Gateway
Python Script (reads serial data)
HTTPS (POST)
Feeds data to Plotly API
HTTP GET
https://plot.ly/~dinsap/2.embed
Internet
gcc-msp430 contiki Compiler+library
User
Dev/i2cmaster.h Communication device driver

## Slide 10: UDP SENDER

## Slide 11: UDP RECEIVER

## Slide 12: COLLECTING SERIAL DATA

## Slide 13: IMPLEMENTATION OF PLOTLY API

## Slide 14: TEMPERATURE DATA

## Slide 15
Demo Session